## 9頁
CHOLESTEROL REFERENCE METHOD LABORATORY NETWORK
INFORMATION FORM
Please photocopy form and retain for future submissions.
The following information form should be completed carefully and accurately. This information
will be used to prepare your Certificate of Traceability.
Prepare copy of data and retain for laboratory records.
Laboratory Name & Address:
| Contact Person: |  |  |  | Phone:
FAX:
| Send Bill To: | この欄に記入する必要はありません |  |  | PO#
Address(if different from above):
| Date Specimens Sent: |  |  |  | Date Specimens Received:
| Instrument: | Manufacturer: |  |  | Calibrator: | Manufacturer:
|  | Trade Name: |  |  |  | Trade Name:
|  | Model Number: |  |  |  | Lot Number(s):
| Reagent: | Manufacturer: |  |  | Calibrator Set Point(s):
|  | Trade Name: |  |  | Matrix/Sample Type:
|  | Lot Number(s): |  |  | Anticoagulant(if applicable):
Concentration:
FINAL CHECKLIST (USING DAY 1 RESULTS)
| 1. Is there at least 100 mg/dL difference between your highest and lowest sample? | [5 empty] | Yes | No
| 2. Are there 2 samples: |  | -less than 200 mg/dL? |  |  |  | Yes | No
|  |  | -between 200 and 240 mg/dL? |  |  |  | Yes | No
|  |  | -greater than 240 mg/dL? |  |  |  | Yes | No
3. In each of three groups above in #2, is there at least 20mg/dL difference between the 2 samples in that group?
[7 empty] | Yes | No
9

## 10頁
CHOLESTEROL REFERENCE METHOD LABORATORY NETWORK
CHOLESTEROL RESULTS FORM
Must be analyzed in three independent runs
Enter all analytical results in mg/dL or mmole/L
Laboratory Name
|  |  | Date: |  | Date: |  | Date:
|  |  | Run 1 |  | Run 2 |  | Run 3
| Specimen ID | Osaka RV | duplicate #1 | duplicate #2 | duplicate #1 | duplicate #2 | duplicate #1 | duplicate #2
1.
2.
3.
4.
5.
6.
国立循環器病研究センター 研究所 脂質基準分析室 まで、 電子メール（CDC_hyojunka@ncvc.go.jp) または、FAX(06-6170-1708) でご報告ください。
RV: Reference Value(目標値）
10

## 11頁 記入例
CHOLESTEROL REFERENCE METHOD LABORATORY NETWORK
INFORMATION FORM
Please photocopy form and retain for future submissions.
The following information form should be completed carefully and accurately. This information
will be used to prepare your Certificate of Traceability.
Prepare copy of data and retain for laboratory records.
| Laboratory Name & Address: |  | National Cerebral and Cardiovascular Center, Research Institute,
Department of Research Promotion Lipid Reference Laboratory
6-1 Kishibeshimmachi, Suita, Osaka 564-8565
| Contact Person: | Kokujun Hanako |  |  | Phone:( ) | 06-6973-6050
[5 empty] | FAX:( ) | 06-6973-3574
| Send Bill To: | この欄に記入する必要はありません |  |  | PO#
Address(if different from above):
| Date Specimens Sent: |  | 2016.04.05 |  | Date Specimens Received: |  | 2016.04.06
| Instrument: | Manufacturer: | Hitachi Medical Corporation |  | Calibrator: | Manufacturer: | Kyowa Medex Co,. Ltd.
|  | Trade Name: | Automatic Analyzer |  |  | Trade Name: | Determiner Reference Serum for Lipid
|  | Model Number: | Hitachi 7250 |  |  | Lot Number(s): | 902AIC
| Reagent: | Manufacturer: | Kyowa Medex Co,. Ltd. |  | Calibrator Set Point(s): |  | 224 mg/dL
|  | Trade Name: | Determiner L TC 2 |  | Matrix/Sample Type: |  | Venous Serum
|  | Lot Number(s): | R1:117AIG R2:115AIH |  | Anticoagulant(if applicable):
Concentration:
FINAL CHECKLIST (USING DAY 1 RESULTS)
| 1. Is there at least 100 mg/dL difference between your highest and lowest sample? | [5 empty] | x | Yes | No
| 2. Are there 2 samples: |  | -less than 200 mg/dL? |  |  |  | x | Yes | No
|  |  | -between 200 and 240 mg/dL? |  |  |  | x | Yes | No
|  |  | -greater than 240 mg/dL? |  |  |  | x | Yes | No
3. In each of three groups above in #2, is there at least 20mg/dL difference between the 2 samples in that group?
[7 empty] | x | Yes | No
11
記入例

## 12頁 記入例
CHOLESTEROL REFERENCE METHOD LABORATORY NETWORK
CHOLESTEROL RESULTS FORM
Must be analyzed in three independent runs
Enter all analytical results in mg/dL or mmole/L
| Laboratory Name |  | Osaka Medical Center for Health Science and Promotion
1-3-2, Nakamichi, Higashinari-ku, Osaka, Japan 537-0025
|  |  |  | Date: | 2016.04.07 |  | Date: | 2016.04.14 |  | Date: | 2016.04.21
|  |  |  | Run 1 |  |  | Run 2 |  |  | Run 3
| Specimen ID | Osaka RV |  | duplicate #1 |  | duplicate #2 | duplicate #1 |  | duplicate #2 | duplicate #1 |  | duplicate #2
1. | 1 |  |  | 115 |  | 116 | 115 |  | 116 | 115 |  | 116
2. | 2 |  |  | 161 |  | 160 | 160 |  | 161 | 162 |  | 160
3. | 3 |  |  | 212 |  | 213 | 211 |  | 213 | 212 |  | 213
4. | 4 |  |  | 232 |  | 233 | 233 |  | 234 | 233 |  | 237
5. | 5 |  |  | 264 |  | 265 | 268 |  | 267 | 265 |  | 266
6. | 6 |  |  | 335 |  | 338 | 342 |  | 335 | 335 |  | 339
国立循環器病研究センターの脂質基準分析室まで、PDFファイルとして電子メール（CDC_hyojunka@ncvc.go.jp)に添付、またはプリントしてFAX(06-6170-1708)でご報告ください。
RV: Reference Value(目標値）
12
記入例