## 9頁
CHOLESTEROL REFERENCE METHOD LABORATORY NETWORK
INFORMATION FORM FOR HDL-CHOLESTEROL
Please photocopy form and retain for future submissions.
The following information form should be completed carefully and accurately. This information
will be used to prepare your Certificate of Treceability.
Prepare copy of data and retain for laboratory records.
Laboratory Name & Address:
| Contact Person: |  |  |  | Phone:
FAX:
| Send Bill To: | この欄に記入する必要はありません |  |  | PO#
Address(if different from above):
| Date Specimens Sent: |  |  |  | Date Specimens Received:
| Instrument: | Manufacturer: |  |  | Calibrator: | Manufacturer:
|  | Trade Name: |  |  |  | Trade Name:
|  | Model Number: |  |  |  | Lot Number(s):
| Reagent: | Manufacturer: |  |  | Calibrator Set Point(s):
|  | Trade Name: |  |  | Matrix/Sample Type:
Lot Number(s):
FINAL CHECKLIST (USING DAY 1 RESULTS)
| 1. Is there at least 30 mg/dL difference between your highest and lowest sample? | [5 empty] | Yes | No
| 2. Are there 2 samples: |  | -less than 39 mg/dL? |  |  |  | Yes | No
| 3. Are there 3 samples: |  | -between 40 and 59 mg/dL? |  |  |  | Yes | No
| 4. Is there one sample: |  | -between 60 and 75 mg/dL? |  |  |  | Yes | No
9

## 10頁
CHOLESTEROL REFERENCE METHOD LABORATORY NETWORK
RESULTS FORM FOR HDL-CHOLESTEROL
Enter all analytical results in mg/dL or mmole/L
Laboratory Name
Date:
Run 1
| Specimen ID | Osaka RV | quardruplicate #1 |  | quardruplicate #2 | quardruplicate #3 | quardruplicate #4
1.
2.
3.
4.
5.
6.
国立循環器病研究センターの脂質基準分析室まで、 電子メール（CDC_hyojunka@ncvc.go.jp) または、FAX(06-6170-1708) でご報告ください。
RV: Reference Value(目標値）
10

## 11頁 記入例
CHOLESTEROL REFERENCE METHOD LABORATORY NETWORK
INFORMATION FORM FOR HDL-CHOLESTEROL
Please photocopy form and retain for future submissions.
The following information form should be completed carefully and accurately. This information
will be used to prepare your Certificate of Treceability.
Prepare copy of data and retain for laboratory records.
| Laboratory Name & Address: |  | Osaka Medical Center for Health Science and Promotion
1-3-2, Nakamichi, Higashinari-ku, Osaka, Japan 537-0025
| Contact Person: | Kokujun Tarou |  |  | Phone: | 06-6973-6050
[5 empty] | FAX: | 06-6973-3574
| Send Bill To: | この欄に記入する必要はありません |  |  | PO#
Address(if different from above):
| Date Specimens Sent: |  | 2016.04.07 |  | Date Specimens Received: |  | 2016.04.08
| Instrument: | Manufacturer: | Hitachi Medical Corporation |  | Calibrator: | Manufacturer: | Kyowa Medex Co,. Ltd.
|  | Trade Name: | Automatic Analyzer |  |  | Trade Name: | Determiner HDL-C Reference Serum
|  | Model Number: | Hitachi 7070 |  |  | Lot Number(s): | 144AHI
| Reagent: | Manufacturer: | Kyowa Medex Co,. Ltd. |  | Calibrator Set Point(s): |  | 57.4 mg/dL
|  | Trade Name: | Determiner L HDL-C D |  | Matrix/Sample Type: |  | Venous Serum
|  | Lot Number(s): | R1:142AHG R2:228AHH
FINAL CHECKLIST (USING DAY 1 RESULTS)
| 1. Is there at least 30 mg/dL difference between your highest and lowest sample? | [5 empty] | x | Yes | No
| 2. Are there 2 samples: |  | -less than 39 mg/dL? |  |  |  | x | Yes | No
| 3. Are there 3 samples: |  | -between 40 and 59 mg/dL? |  |  |  | x | Yes | No
| 4. Is there one sample: |  | -between 60 and 75 mg/dL? |  |  |  | x | Yes | No
11
記入例

## 12頁 記入例
CHOLESTEROL REFERENCE METHOD LABORATORY NETWORK
RESULTS FORM FOR HDL-CHOLESTEROL
Enter all analytical results in mg/dL or mmole/L
| Laboratory Name |  | Osaka Medical Center for Health Science and Promotion
1-3-2, Nakamichi, Higashinari-ku, Osaka, Japan 537-0025
[5 empty] | Date: | 2016.04.14
Run 1
| Specimen ID | Osaka RV |  | quardruplicate #1 |  | quardruplicate #2 | quardruplicate #3 | quardruplicate #4
1. | 1 |  |  | 27.2 |  | 26.8 | 26.5 | 24.9
2. | 2 |  |  | 39.1 |  | 40.2 | 37.8 | 38.5
3. | 3 |  |  | 40.9 |  | 43 | 42.8 | 42.7
4. | 4 |  |  | 50.1 |  | 49.5 | 49.8 | 50.2
5. | 5 |  |  | 56.6 |  | 57.1 | 56.8 | 56.5
6. | 6 |  |  | 68.8 |  | 68.2 | 69.5 | 67.9
国立循環器病研究センターの脂質基準分析室まで、Fax (06-6170-1708)でご報告下さい。
RV: Reference Value(目標値）
12
記入例