## 9頁
CHOLESTEROL REFERENCE METHOD LABORATORY NETWORK
INFORMATION FORM FOR TRIGLYCERIDES
Please photocopy form and retain for future submissions.
The following information form should be completed carefully and accurately. This information
will be used to prepare your Certificate of Treceability.
Prepare copy of data and retain for laboratory records.
Laboratory Name & Address:
| Contact Person: |  |  | Phone:
FAX:
| Send Bill To: | この欄に記入する必要はありません |  | PO#
Address(if different from above):
| Date Specimens Sent: |  |  | Date Specimens Received:
| Instrument: | Manufacturer: |  | Calibrator: | Manufacturer:
|  | Trade Name: |  |  | Trade Name:
|  | Model Number: |  |  | Lot Number(s):
| Reagent: | Manufacturer: |  | Calibrator Set Point(s):
|  | Trade Name: |  | Matrix/Sample Type:
Lot Number(s):
FINAL CHECKLIST (USING DAY 1 RESULTS)
| 1. Is there 1 sample less than 100 mg/dL? |  |  |  |  | Yes | No
| 2. Is there 1 sample between 100 mg/dL and 150 mg/dL? |  |  |  |  | Yes | No
| 3. Is there 1 sample betwenn 150 mg/dL and 200 mg/dL? |  |  |  |  | Yes | No
| 4. Is there 1 sample over 200 mg/dL? |  |  |  |  | Yes | No
9

## 10頁
CHOLESTEROL REFERENCE METHOD LABORATORY NETWORK
RESULTS FORM FOR TRIGLYCERIDES
Enter all analytical results in mg/dL or mmole/L
Laboratory Name
Date:
Run 1
| Specimen ID | Osaka RV | quardruplicate #1 |  | quardruplicate #2 | quardruplicate #3 | quardruplicate #4
1.
2.
3.
4.
国立循環器病研究センターの脂質基準分析室まで、 電子メール（CDC_hyojunka@ncvc.go.jp) または、FAX(06-6170-1708) でご報告ください。
RV: Reference Value(目標値）
10

## 11頁 記入例
CHOLESTEROL REFERENCE METHOD LABORATORY NETWORK
INFORMATION FORM FOR TRIGLYCERIDES
Please photocopy form and retain for future submissions.
The following information form should be completed carefully and accurately. This information
will be used to prepare your Certificate of Treceability.
Prepare copy of data and retain for laboratory records.
| Laboratory Name & Address: |  | Osaka Medical Center for Health Science and Promotion
1-3-2, Nakamichi, Higashinari-ku, Osaka, Japan 537-0025
| Contact Person: | Kokujun Tarou |  |  | Phone: | 06-6973-6050
[5 empty] | FAX: | 06-6973-3574
| Send Bill To: | この欄に記入する必要はありません |  |  | PO#
Address(if different from above):
| Date Specimens Sent: |  | 2016.06.01 |  | Date Specimens Received: |  | 2016.06.02
| Instrument: | Manufacturer: | Hitachi Medical Corporation |  | Calibrator: | Manufacturer: | Kyowa Medex Co,. Ltd.
|  | Trade Name: | Automatic Analyzer |  |  | Trade Name: | Determiner TG Reference Serum
|  | Model Number: | Hitachi 7070 |  |  | Lot Number(s): | 144AHI
| Reagent: | Manufacturer: | Kyowa Medex Co,. Ltd. |  | Calibrator Set Point(s): |  | 120.0 mg/dL
|  | Trade Name: | Determiner Triglycerides |  | Matrix/Sample Type: |  | Venous Serum
|  | Lot Number(s): | R1:142AHG R2:228AHH
FINAL CHECKLIST
| 1. Is there 1 sample less than 100 mg/dL? | [6 empty] | Yes | No
| 2. Is there 1 sample between 100 mg/dL and 150 mg/dL? | [6 empty] | Yes | No
| 3. Is there 1 sample betwenn 150 mg/dL and 200 mg/dL? | [6 empty] | Yes | No
| 4. Is there 1 sample over 200 mg/dL? | [6 empty] | Yes | No
11
記入例

## 12頁 記入例
CHOLESTEROL REFERENCE METHOD LABORATORY NETWORK
RESULTS FORM FOR TRIGLYCERIDES
Enter all analytical results in mg/dL or mmole/L
| Laboratory Name |  | Osaka Medical Center for Health Science and Promotion
1-3-2, Nakamichi, Higashinari-ku, Osaka, Japan 537-0025
[5 empty] | Date: | 2016.06.01
Run 1
| Specimen ID | Osaka RV |  | quardruplicate #1 |  | quardruplicate #2 | quardruplicate #3 | quardruplicate #4
1. | 1 |  |  | 90 |  | 92 | 91 | 90
2. | 2 |  |  | 125 |  | 128 | 124 | 126
3. | 3 |  |  | 185 |  | 180 | 182 | 186
4. | 4 |  |  | 256 |  | 258 | 262 | 254
国立循環器病研究センターの脂質基準分析室まで、 電子メール（CDC_hyojunka@ncvc.go.jp) または、FAX(06-6170-1708) でご報告ください。
RV: Reference Value(目標値）
12
記入例